## Slide 1
BROOKS mass flow control
BROOKS
Arduino
Custom cable
Twofast-rpi3-4
USB Serial
Database (twofast-rpi3-0)
LAN cable to network
Table: flow_meter_control
Columns: (setpoint_voltage, id)
Control is performed via the dash control, started via LTH_Neutimag\hkromer\17_github\dash_NG\NG_control_v2 and there the index.py with python 3.7.3. It is working in the conda environment “dash_readout”, i.e. on the MPC2278